Attachment Two – Updated March 2022

CENTRAL ARKANSAS WATER

BOOSTER STATIONS

Station 16B		Two (2) 400 GPM Peerless Pumps, 30 Hp, Horizontal Motor, 1985

One (1) 600 GPM Peerless Pump, 40 Hp, Horizontal Motor, 1985 Motor replaced in 2020

Airport-NLR (Sta. 26A)	Two (2) Floway, 12” x 12” Vertical Pumps 1978, 1500 GPM Capacity,  75 Hp Motors replaced 2006

Batesville Pike (Sta 26B)	Three (3) Pentair Fairbanks pumps, 5” Model 2823, 60 HP, 1000 GPM each,  on-line 2016

Station 9	Two (2) Allis-Chalmers, 6” Discharge, Vertical Turbine Pumps, 900 GPM capacity, 50 Hp Motors, 2010

One (1) 15” DRLC Vertical Turbine Pump, 1300 GPM, 100 Hp Motor, 2010

Station 10	Two (2) Johnston Vertical Turbine Pumps, 290 GPM capacity, 25 Hp Motors, 1970

One (1) Layne & Bowler Vertical Turbine Pump, 450 GPM capacity, 40 Hp Motor, 1982

Station 15	Four (4) Johnston Vertical Turbine Pumps, 1400 GPM capacity, 75 Hp Motors, 1975.  (South Intermediate)

Crystal Hill (Sta .22)	One (1), Floway Vertical Turbine, 5600 GPM capacity, 350 Hp Motors, 2003

Three (3), Floway Vertical Turbine 1975, 5600 GPM capacity, 350 Hp Motors replaced 2005

Station 11	Two (2) Layne & Bowler Vertical Turbine Pumps, 2800 GPM capacity, 1 - 125 Hp General Electric Motor, 1982 & 1 – 125 U.S. Motor, 2003

Five-Mile Creek (Sta. 27)	One (1) Gould Vertical Turbine, 8” x 6”, 700 GPM, 50 HP Motor. VFD 2006

One (1) Floway Vertical Turbine, 8” x 6”, 700 GPM, 50 HP Motor 2006

Variable Frequency Drive (VFD) 2017

Station 13	One (1) Layne & Bowler Vertical Turbine Pump, 2800 GPM capacity, 40 Hp Motor, 1973.

One (1) Floway Vertical Pump, 2300 GPM, 40 Hp U.S. Motor

Station 17	One (1) Gould Horizontal Pump, 700 GPM capacity, 50 Hp Baldor Motor

One (1) Gould Horizontal Pump, 500 GPM capacity, 25 Hp Marathon Motor

One (1) Gould Horizontal Pump, 700 GPM capacity, 50 Hp Marathon Motor

Station 14	One (1) Fairbanks-Morse Vertical Turbine Pump, 2200 GPM capacity, 200 Hp Marathon Motor, 2005.

One (1) Fairbanks-Morse Vertical Turbine Pump, 5-stages, 2800 GPM capacity, 250 Hp U.S. Motor, 2003

One (1) Floway Vertical Pump, 2800 GPM, 2-stages, 150 Hp, General Electric Motor, 2001

One (1) Fairbanks-Morse Vertical Turbine Pump, 3-stages, 2750 GPM capacity, 200 Hp U.S. Motor, 2007

Station 2			Two (2) Allis-Chalmers, Centrifugal Horizontal Pumps, 6400 GPM, 300 Hp U.S. Motor

Montgomery (Sta. 23)       	One (1) Peerless Horizontal Pump, 6” x 5”, 1200 GPM Capacity, 1800 RPM, 100 Hp Motor replaced 2005

One (1) Peerless Horizontal Pump, 8” x 6”, 2000 GPM Capacity 1975, 150 Hp Motor replaced 2005

One (1) Peerless Horizontal Pump 8” x 6”, 2000 GPM, Capacity, 150 Hp Motor 1975  replaced in 2005

One (1) Peerless Horizontal Pump 8” x 6”, 2000 GPM, Capacity 1975, 150 Hp Motor replaced 2005

Park Hill (Sta. 25) 	One (1) Floway Vertical Turbine 12” x 12” Pump 1978, 1500 GPM Capacity, 75 Hp Motor replaced 2005

One (1) Allis Chalmers Horizontal 1978, 8” x 6” Pump, 1500 GPM Capacity, 1760 RPM, 125 Hp Motor replaced 2005

Scenic Hill (Sta. 24)	One (1) Allis Chalmers, 8” x 8” x 17 Horizontal Pump, 1500 GPM Capacity, 75 Hp Toshiba Motor, 1985

Two (2) Allis Chalmers, 6” x 4” x 10L Horizontal Pumps, 350 GPM Capacity, 20 Hp Toshiba Motor, 1985

Twenty Ninth Street (Sta. 29)	One (1) Pacific Horizontal Pump, 12” x 10”, 2800 GPM capacity, 150 Hp, replaced 3/2016

One (1) Allis Chalmers Horizontal Pump, 8” x 6”, 1500 GPM capacity, 75 Hp, 1975

Walton Heights

Station 8A	Two (2) Layne-Arkansas, 8” Discharge, Vertical Turbine Pumps, 2-Speed, 1230 GPM capacity, 125 Hp Motor, 1964, Motor #2, 125 HP U.S. motor and VFD installed 4/2019

Station 8B	One (1) Fairbanks-Morse, 5” x 3”, Centrifugal Horizontal Pump, 400 GPM capacity, 30 HP Motor, 1987

One (1) Fairbanks-Morse, 5” x 3”, Centrifugal Horizontal Pump, 600 GPM capacity, 30 Hp Motor, 1987

Station 16A	One (1) Floway Vertical Turbine Pump, Constant Speed, 4-Stage, 2100 GPM capacity, 200 Hp Motor. Pump & motor installed new 2014

One (1) Layne & Bowler, Vertical Turbine Pump, Constant Speed, 3-Stage, 1000 GPM capacity, 100 Hp Motor with Magnetic Drive, 1979

One (1) Layne & Bowler, Vertical Turbine Pump, Constant Speed, 4-Stage, 2100 GPM capacity, 200 Hp Motor, 1979

One (1) Layne & Bowler, Vertical Turbine Pump, Constant Speed, 3-Stage, 3000 GPM capacity, 300 Hp Motor with Magnetic Drive, 1979

One (1) Floway, Vertical Pump, Constant Speed, 3-stages, 3500 GPM, 300 Hp U.S. Motor, 2/2019

Station 16C		One (1) Gould Horizontal Pump, 5 MGD capacity, U.S. Motor 250Hp (2004)

Two (2) Gould Horizontal Pumps, 7 MGD capacity, U.S. Motor 350Hp (2004)

Station 16D		Two (2) Gould Horizontal Pumps, 500 GPM capacity, Baldor Electric 6.50 Hp (2010)

Station 28 (HWY 365)	Two (2) Allis-Chalmers Horizontal Pumps, 400 GPM capacity, U.S. Motor 30 Hp constant speed (2002), #1 motor, 30HP U.S. Motor replaced and VFD installed 3/2019

CENTRAL ARKANSAS WATER / MAUMELLE WATER MANAGEMENT (MWM)

BOOSTER STATIONS

Pine Ridge PS (MWM) Sta. 30	(2) 100-hp close coupled end suction Patterson pumps (1,326 gpm @ 188 total dynamic head (TDH))

(1) 40 HP Motor and Goulds pump 500 GPM installed 2017

(1) 10hp Grundfos vertical multistage centrifugal jockey pump (145 gpm @ 188 TDH) replaced 10/2016

Manitou PS (MWM) Sta. 31	1- 7½ HP Groundfos, 100GPM, 1 – 30 HP Gould 500 GPM, 1- 125 HP Gould 1500 GPM

CENTRAL ARKANSAS WATER / WYE MOUNTAIN WATER FACILITIES BOARD

BOOSTER STATIONS

Station 19A (Wye Mtn.)	Two (2) Gould, Stainless, Vertical Turbine Pumps, 5 stages, 350 GPM, Max Head 850 ft, 50 HP Baldor-Reliance Motors with VFD’s, 3540 RPM, 2014