Attachment One – Updated March 2022

CENTRAL ARKANSAS WATER

PUMPING STATIONS

Jackson Reservoir (Station 12)

One (1) Allis-Chalmers, 14” Discharge, Split Case Centrifugal Pump, 10.0 MGD Capacity, 75 Hp Motor, 2010

One (1) Allis-Chalmers, 20” Discharge, Split Class Centrifugal Pump, 16.5 MGD Capacity, 100 Hp Motor, 2010

One (1) Gould, 16” Discharge, Split Class Centrifugal Pump, 15 MGD Capacity, 150 Hp Motor, 1988

Lake Maumelle                                                                                                                                         rebuilt in 2020

One (1) Peerless, 24” Discharge, Vertical Turbine Pump, 3-Stage, 27.6 MGD Capacity, 2000 Hp Motor, 1958, (Rebuilt in 1997)   2019

One (1) Peerless, 24” Discharge, Vertical Turbine Pump, 3-Stage, 29.0 MGD Capacity, 2000 Hp Motor, 1958, (Rebuilt in 1998)

One (1) Byron-Jackson, 30” Discharge, Vertical Turbine Pump, 2-Stage, Constant Speed, 35 MGD Capacity, 2500 Hp Motor, 1989.                                                                                                                            rebuilt in 2020

One (1) Johnston, 30” Discharge, Vertical Turbine Pump, 3-Stage, 30.0 MGD Capacity, 2250 Hp Motor, 1983 rebuilt in 2019

Two (2) Peerless, 24” Discharge, Vertical Turbine Pump, 4-Stage, 15 MGD Capacity, 900 Hp Motor, 2004

One (1) Floway, 30” Discharge, Vertical Turbine Pump, 4-Stage, 35 MGD Capacity, 2250 Hp Motor, 2010

Ozark Point

One (1) Gould pump, 3 MGD, General Electric 200Hp motor (1999)

One (1) Gould pump, 4 MGD, General Electric 300Hp motor (1999)

One (1) Gould pump, 5 MGD, General Electric 400Hp motor (1999)

Wilson Treatment Plant

Pulaski Heights: High Service Pump Station (HSPS)1

One (1) Allis-Chalmers, 8” Discharge, Single-Stage, Constant Speed Centrifugal Pump, 5.0 MGD Capacity, 350 Hp Motor, 1997

One (1) Allis-Chalmers, 8” Discharge, Single-Stage, Centrifugal Pump, 5.0 MGD Capacity, 300 Hp Motor, 1992, Converted to Constant Speed in 1978

One (1) Fairbanks Nijhuis, 8” Discharge, Horizontal Split Case, 6.5 MGD Capacity, 1790 RPM, 350 Hp, US Motor, 2019

One (1) Fairbanks Nijhuis, 8” Discharge, Horizontal Split Case, 6.5 MGD Capacity, 1790 RPM, 350 Hp, US Motor, 2019

One (1) Fairbanks Nijhuis, 8” Discharge, Horizontal Split Case, 6.5 MGD Capacity, 1790 RPM, 350 Hp, US Motor, 2019, with VFD, 2019

Intermediate Pumps: HSPS1

One (1) Delaval, 14” Discharge, Constant Speed, Single-Stage, Centrifugal Pump, 10 MGD Capacity, 350 Hp Motor, 1971

One (1) Delaval, 14” Discharge, Variable Speed, Single-Stage, Centrifugal Pump, 13 MGD Capacity, 450 Hp Motor, 1971, Clutch overhauled in 1998

One (1) Delaval, 14” Discharge, Variable Speed, Single-Stage, Centrifugal Pump, 13 MGD Capacity, 450 Hp Motor, 1971

One (1) Paco, 14” Discharge, Constant Speed, Single-Stage, Centrifugal Pump, 13.5 MGD Capacity, 400 Hp US Motor, 2019

One (1) Paco, 14” Discharge, Constant Speed, Single-Stage, Centrifugal Pump, 13.5 MGD Capacity, 400 Hp US Motor, 2019

Intermediate Pumps: HSPS2

Three (3) Fairbanks-Morse, 16” Discharge, Constant Speed, Single-Stage, Centrifugal Pump, 11 MGD, 500 Hp Motor, 2007, Int #6 has Toshiba VFD installed 10/2015. Installed Int #8 pump and motor in 2018.

NOTE: 	Changes from original Attachment One highlighted in yellow.